AP ENVIRONMENTAL SCIENCE - ENERGY MATH

1a.  Imagine that you had unlimited time and you needed to get from Washington, D.C., to Cleveland, Ohio.  The distance is roughly 600 km (370 miles).  For each mode of transportation in the data table below, calculate how many megajoules of energy you would use to make the trip.

Air plane – 2.1 MJ per passenger – kilometer

Car (driver only) – 3.6 MJ per passenger – kilometer

Train – 1.1 MJ per passenger – kilometer

Bus – 1.7 MJ per passenger – kilometer

1b.  If a gallon of gasoline contains 120 MJ, how many gallons of gasoline does it take to make the trip by car?

1c.  If you could carpool with three other people who needed to make the same trip, what would the energy expenditure be for each person?  In that case, which form of transportation would be most efficient?

2.  A power plant has a capacity of 500 MW.  This is the maximum electrical output of the plant when it is operating.  The plant has a 0.9 capacity factor, a measure of the actual time a plant operates. The capacity factor is a fraction of the total time that the plant could operate.

According to the U.S. Department of Energy, a typical home in the U.S. uses approximately 900 kWh of electricity per month.

How many homes can the power plant support?

3.  An Energy Star air conditioner unit costs $300 while a standard unit costs $200.  The two units have the same cooling capacity.  The Energy Star unit costs 5 cents per hour less to run.  If you buy the Energy Star unit and run it for 12 hours per day for 6 months of the year, how long does it take to recover the $100 extra cost?

4.  You are about to invest in a 66-inch flat screen TV.  These TVs come in both Energy Star and non-Energy Star models.  The cost of electricity is $0.15 per kilowatt-hour, and you expect to watch TV an average of 4 hours per day. (too much  ( )

4a.  The non-Energy Star model uses 0.5 kW (half a kilowatt).  How much will it cost you per year for electricity to run this model?

4b.  If the Energy Star model uses only 40 percent of the amount of electricity used by the non-Energy Star model, how much money would you save on your electric bill over 5 years by buying the efficient model?